## Slide 1
e+
e-
Tungsten target
e- beam
Ecal
SVT
Analyzing magnet
Frascati magnet
Frascati magnet
B

## Slide 2
North Linac
cryomodules
Central Helium Liquifiers
South Linac
cryomodules
Injector
Experimental Hall
Experimental Halls

## Slide 3
HPS
Hall B
CLAS12
Beam
Tagger

## Slide 4
Chart: Beamline Trajectory

## Slide 5
Chart: Magnetic Field along Beamline
2nd Frascati
1st Frascati
Pair Spectrometer

## Slide 6
Photons
Electrons
Target

## Slide 16
1
2

## Slide 17
Crystal index, ix+23
Crystal index, iy+5
Ecal as viewed from downstream looking upstream

## Slide 18
Ampl: 500.28 mV
Ped: 28.38 mV

## Slide 23: 2.3 GeV Run: Ecal Performance
σ=330 ps
Cosmics for initial gain calibration
Time difference between 2 clusters
Elastically-scattered e- peak in fiducial region
2015
data
2016
data
18 MeV/crystal
Timing offsets were calibrated using RF time from accelerator
Beam bunch structure

## Slide 25
Ilight
Idark

## Slide 26
G=50
G=100
G=150